AI-Generated Translation Disclaimer

This document has been translated into English using a fully automated Artificial Intelligence (AI)-based translation process.

Reasonable efforts have been made by the solution developers and prompt engineers to ensure the accurate extraction, interpretation, and translation of content originating from machine-generated and handwritten source documents. However, the completeness, accuracy, and fidelity of the extracted and translated content cannot be guaranteed.

The AI-based translation process has not been validated to demonstrate error-free extraction or translation of all source content. Consequently, omissions, inaccuracies, formatting discrepancies, or misinterpretations may be present in the generated output. Prior to use, this document shall be reviewed, and verified by appropriately qualified personnel to confirm that the translated content is complete, accurate, and suitable for its intended purpose.

The output of the AI-based translation process shall not be considered an approved or authoritative record until such verification and approval have been completed. The ultimate responsibility for the review, verification, approval, and use of the translated content remains with the document owner and the designated business user.

AI Model: myGenAssist (Claude, Anthropic)

Prompt File: translate_file_into_en.md

Prompt File Version: 0.5

Legend

Text displayed in blue was transcribed from handwritten source content, including signatures. Printed, machine-readable and stamped content is shown in its original color.

Word comments provide, for each handwritten passage, the source text and the recognition confidence. Where recognition was uncertain or impossible, the comment is marked [UNCLEAR] or [ILLEGIBLE] and additionally states the nature of the problem and the recommended verification.

Passages marked [ILLEGIBLE] could not be read at all. All commented passages are also listed in the accompanying quality report.

Translator's note: Source document 001.pdf is in French. Target: American English. This is a reconstructed, translated rendering of the source document, which is a scanned and partly handwritten form. Images that could not be reproduced are indicated by [IMAGE].

Trustworthiness

The following table indicates the estimated reliability of the translated content for each page of this document.¹

| Page | Confidence | Quality level | Manual review |
| --- | --- | --- | --- |
| 1 | 78% | limited quality | recommended |
| 2 | 78% | limited quality | recommended |
| 3 | 77% | limited quality | recommended |
| Total (document) | 75% | limited quality | recommended |

¹ The confidence value is a reasoned quality estimate, not a proof of correctness. For an explanation of how it is calculated, what the quality levels mean, and which passages require manual verification, see the accompanying quality report: 001_AI Translation Quality Report.docx.

PSP Eylea® form (Aflibercept, 40 mg/mL) (Aflibercept 114.3 mg/mL)

CRS-FR-2024-000001 / PP-EYL-FR-0653-1

[IMAGE] Bayer logo

In case of injection initiation failure

EYLEA® Replacement Program

In the case of an injection failure only and after evaluation of the request, the EYLEA® replacement program may provide healthcare professionals with a replacement EYLEA® unit.

The case will be reviewed based on the consistency of the information provided in this form.

Form to be returned completed and signed by email, fax, or mail to:
Email: programme-remplacement-eylea@universalmedica.com
Fax: 01 86 95 44 85
Address: Universal Medica, 106 bureaux de la colline, 92213 SAINT CLOUD cedex
To speed up the processing of your request, please prefer sending by email.

IMPORTANT: The information, duly completed, must be consistent in order to allow the admissibility of the request to be assessed. Bayer HealthCare reserves the right to approve or refuse a request.

This form is not intended for the reporting of adverse events.

To report an adverse event, please report it via https://signalement.social-sante.gouv.fr. You can also contact Bayer at the following number for Pharmacovigilance and medical information: 0 800 87 54 54, or use our reporting page https://safetrack-public.bayer.com/

* Mandatory fields

SECTION 1

| EYLEA® lot no. * (7 characters shown on the box after “LOT” and before “EXP” followed by the expiry date) | KTOVVC9 |
| --- | --- |
| Product available * | oui (yes) ☒ |
| EYLEA 40 mg/mL | Vial ☐ Pre-filled syringe ☐ |
| EYLEA 114.3 mg/mL | Vial ☒ Pre-filled syringe ☒ |
| Date of the event | 08/04/2026 |
| First and last name of the healthcare professional * | Dr ASSAD-MEILLON Ghislaine |
| Specialty | ophthalmologist ☒ |
| RPPS no. or Ordre Council no. * (pre-printed practitioner block) | Docteur G. ASSAD MEILLON Ophthalmologist - Conventionné Secteur II (contracted, sector II) Parc Valmy - 9 rue Jeanne Barret 21000 DIJON 21 1 70251 9 / RPPS 10100959542 |
| Medical office / Clinic / Hospital * | OPHTAVALMY |
| Street * | 9 RUE JEANNE BARRET |
| City * | DIJON |
| Postal code * | 21000 |
| Telephone | 0380237434 |
| Fax |  |
| Email | contact@ophtavalmy.com |

First letter of the first name and first two letters of the last name of the patient receiving the injection: ______

Date of birth of the patient receiving the injection: ______

Delivery address for the EYLEA® replacement

| The delivery address is identical to the address mentioned above | YES ☒ NO ☐ |
| --- | --- |
| First and last name of a contact person for the delivery |  |

PSP Eylea® form (Aflibercept, 40 mg/mL) (Aflibercept 114.3 mg/mL)

CRS-FR-2024-000001 / PP-EYL-FR-0653-1

[IMAGE] Bayer logo

If the address is different from the address mentioned above, please fill in the boxes below:

| Place of delivery (Medical office / Clinic / Hospital / Pharmacy): |  |
| --- | --- |
| Street * |  |
| City * |  |
| Postal code * |  |
| Fax |  |
| Important information for the delivery (e.g.: opening hours of |  |

Opening hours (pre-printed):

| Monday | 7:45 a.m. - 12 p.m. / 1:30 p.m. - 6 p.m. |
| --- | --- |
| Tuesday | 7:45 a.m. - 12 p.m. / 1:45 p.m. - 6 p.m. |
| Wednesday | 8:30 a.m. - 12 p.m. / 1:30 p.m. - 6 p.m. |
| Thursday | 7:45 a.m. - 12 p.m. / 1:45 p.m. - 6 p.m. |
| Friday | 7:45 a.m. - 12 p.m. / 1:45 p.m. - 4:30 p.m. |

SECTION 2

Reasons for the EYLEA® replacement request *: (Check the box(es) corresponding to your request)

In all cases, the return of the product concerned, which is necessary for the investigations, is mandatory.

I – Product quality complaint occurring before the injection

☐ (a) Low liquid level

☐ (b) Sterile blister open

☐ (c) Cloudy product or product containing particles

☐ (d) Missing item (to be specified) ______

☐ (e) Damaged syringe/vial that does not guarantee the sterility of the product (to be specified)

☐ (f) Blocked needle

☐ (g) The syringe plunger jams

☐ (h) The syringe cap does not open

☐ (i) Defect of the Luer Lock tip of the syringe (to be specified): ______

Type of needle used and lot no. (if available): ______

☐ (j) Dosing line on the syringe barely or not visible

☐ (k) Problem or defect in the printing of the label

☐ (l) Leaks, location (to be specified) ______

☐ (m) with occupational exposure to the product

☐ (n) without occupational exposure to the product

☒ (o) Condensation/water found in the syringe blister upon opening

☐ (p) The pre-filled syringe or the vial was broken. At what point? Is it a handling error?

☐ (q) with occupational exposure to the product

☐ (r) with cut or injury following the handling of the syringe/vial/packaging

☐ (s) without any of the above consequences

Description of the complaint: Condensation / water in the packaging before opening

II – Usage problem occurring before the injection

☒ (a) Doubts about the storage of the product (cold chain break > 24h, or any exposure below +2°C or above +25°C)

☐ (b) Contamination of EYLEA® before the injection (contact with non-sterile surface)

Any situation occurring during or after the injection cannot be subject to a replacement request.

PSP Eylea® form (Aflibercept, 40 mg/mL) (Aflibercept 114.3 mg/mL)

CRS-FR-2024-000001 / PP-EYL-FR-0653-1

SECTION 3

By signing below, I certify the accuracy of the information provided; I acknowledge and accept having made a request for an EYLEA® replacement (injectable solution (intravitreal injection) based on aflibercept) on the sole basis described above and that treatment with EYLEA® is still appropriate for the patient. I accept to receive a pre-filled EYLEA® syringe as a replacement for the non-administered vial or pre-filled syringe.

| Mandatory signature of the healthcare professional * | [signature present] |
| --- | --- |
| Date * (DD/MM/YYYY) | 21/04/2026 |

“The information collected is subject to computer processing and is intended for the company UNIVERSAL MEDICA, to which we have entrusted the management of the EYLEA® replacement requests. Your data will be kept for the duration of the replacement operation and then (archived for 10 years and deleted). In accordance with the “Informatique et Libertés” (Data Protection) Act of January 6, 1978, as amended, and with the General Data Protection Regulation of April 27, 2016, you have a right of access, rectification, limitation, and to object to the processing of your data for legitimate reasons by sending your request to BAYER HEALTHCARE SAS, Data Protection Officer, Legal Department, 10 Place de Belgique, BP 103, 92254 La Garenne Colombes cedex. If, after contacting Bayer, you believe that your rights are not respected, you may lodge a complaint with the CNIL.”

INTERNAL USE

| Date of receipt | 21/04/2026 |
| --- | --- |
| Service provider registration no. | CRS-20260421-97-1 |
| Category | I ☒ II ☐ |
| Code | O |

☒ Approved on (date): 21/04/2026

☐ Refused on (date):

☐ Transferred to PV on (date):

☒ Transferred to QA on (date): 21/04/2026

☒ Dispatch of device return request letter (date): 21/04/2026

☒ Follow-ups initiated: 21/04/2026

FOLLOW-UP WITH THE HEALTHCARE PROFESSIONAL if the form is incomplete or if the sample is not returned

| Follow-up date 1 | 21/04/2026 |
| --- | --- |
| Reason for follow-up 1 | follow-up for product availability, reasons checked and pharmaceutical form |
| Follow-up date 2 |  |
| Reason for follow-up 2 |  |
| Addition and/or modification requested by the healthcare professional | the secretariat indicates that the PFS (pre-filled syringe) is available and that there has been no break in the cold chain |
| Date | 21/04/2026 |