AI-Generated Translation Disclaimer
This document has been translated into English using a fully automated Artificial Intelligence (AI)-based translation process.
Reasonable efforts have been made by the solution developers and prompt engineers to ensure the accurate extraction, interpretation, and translation of content originating from machine-generated and handwritten source documents. However, the completeness, accuracy, and fidelity of the extracted and translated content cannot be guaranteed.
The AI-based translation process has not been validated to demonstrate error-free extraction or translation of all source content. Consequently, omissions, inaccuracies, formatting discrepancies, or misinterpretations may be present in the generated output. Prior to use, this document shall be reviewed, and verified by appropriately qualified personnel to confirm that the translated content is complete, accurate, and suitable for its intended purpose.
The output of the AI-based translation process shall not be considered an approved or authoritative record until such verification and approval have been completed. The ultimate responsibility for the review, verification, approval, and use of the translated content remains with the document owner and the designated business user.
AI Model: OpenAI ChatGPT; exact model version not exposed
Prompt File: prompt.en.0.5.md
Prompt File Version: 0.5

Legend
Text displayed in blue was transcribed from handwritten source content, including signatures. Printed, machine-readable and stamped content is shown in its original color.
Word comments provide, for each handwritten passage, the source text and the recognition confidence. Where recognition was uncertain or impossible, the comment is marked [UNCLEAR] or [ILLEGIBLE] and additionally states the nature of the problem and the recommended verification.
Passages marked [ILLEGIBLE] could not be read at all. All commented passages are also listed in the accompanying quality report.

Translator’s note: Source document 001.pdf is in French. Target: American English. This is a reconstructed, translated rendering of the source document, which is a scanned and partly handwritten form. The lot identifier is uncertain and requires original/carton verification. Dates remain DD/MM/YYYY. Qualified medical/regulatory review is mandatory. The exact model version is not exposed. Platform attachment deletion, cache clearing, and a 15-minute retention/deletion guarantee cannot be enforced; files are retained pending delivery and should be deleted by the delivery operator after upload.

Trustworthiness
The following table indicates the estimated reliability of the translated content for each page of this document.

| Page | Confidence | Quality level | Manual review |
| --- | --- | --- | --- |
| 1 | 89% | good expected quality, individual locations requiring review | recommended |
| 2 | 89% | good expected quality, individual locations requiring review | recommended |
| 3 | 93% | high expected quality, only minor uncertainties | recommended |
| Total (document) | 50% | significant uncertainties, comprehensive review required | recommended |

| PSP Eylea® Form (Aflibercept, 40 mg/mL) (Aflibercept 114.3 mg/mL) CRS-FR-2024-000001 PP-EYL-FR-0653-1 |  |
| --- | --- |

# In the event of failure to initiate an injection

# EYLEA® Replacement Program

| In the event of injection failure only and after evaluation of the request, the EYLEA® Replacement Program may provide healthcare professionals with one replacement unit of EYLEA®. The case will be assessed on the basis of the consistency of the information provided in this form. | Return the completed and signed form by email, fax, or mail to: Email: programme-remplacement-eylea@universalmedica.com Fax: 01 86 95 44 85 Address: Universal Medica 106 bureaux de la colline 92213 SAINT CLOUD cedex To expedite processing of your request, please send it by email. |
| --- | --- |

IMPORTANT: The information, duly completed, shall be consistent so that the eligibility of the request can be assessed. Bayer HealthCare reserves the right to approve or refuse a request.

This form is not intended for reporting adverse events.
To report an adverse event, please report it via https://signalement.social-sante.gouv.fr. You can also contact Bayer at the following number for Pharmacovigilance and medical information: 0 800 87 54 54, or use our reporting page https://safetrack-public.bayer.com/.

* Required fields

## SECTION 1

| Field | Value |
| --- | --- |
| EYLEA® lot no.: * | KTOVVC9 |
| (7 characters shown on the box after “LOT” and before “EXP”, followed by the expiration date) |  |
| Product available | [ X ] Yes [ ] No |
| EYLEA 40 mg/mL | [ ] Vial [ ] Prefilled syringe |
| EYLEA 114.3 mg/mL | [ X ] Vial [ X ] Prefilled syringe |
| Date of the event | 08/04/2026 |
| Healthcare professional’s first name, last name * | Dr ASSAD-MEILLON Ghislaine |
| Specialty | [ X ] Ophthalmologist |
| RPPS no. or Medical Council registration no. * |  |
| Medical practice / Clinic / Hospital * | OPHTAVALMY |
| Street * | 9 RUE JEANNE BARRET |
| City * | DIJON |
| Postal code * | 21000 |
| Telephone | 03 80 23 74 34 |
| Fax |  |
| Email | contact@ophtavalmy.com |
|  | Docteur G. ASSAD MEILLON Ophthalmologist – Sector II contracted physician Parc Valmy - 9 rue Jeanne Barret 21000 DIJON 21 1 70251 9 / RPPS 10100959542 |
| First letter of the first name and first two letters of the last name of the patient receiving the injection |  |
| Date of birth of the patient receiving the injection |  |

## Delivery address for the EYLEA® replacement

| Field | Value |
| --- | --- |
| The delivery address is identical to the address of the address stated above | [ X ] YES [ ] NO |
| First name, last name of a contact person for delivery |  |

1

| PSP Eylea® Form (Aflibercept, 40 mg/mL) (Aflibercept 114.3 mg/mL) CRS-FR-2024-000001 PP-EYL-FR-0653-1 |  |
| --- | --- |

If the address differs from the address stated above, please fill in the fields below:

| Field | Value |
| --- | --- |
| Delivery location (Medical practice / Clinic / Hospital / Pharmacy) |  |
| Street * |  |
| City * |  |
| Postal code * |  |
| Fax |  |
| Important delivery information (e.g., hours of [ILLEGIBLE] |  |

| Monday | 07:45–12:00 / 13:30–18:00 |
| --- | --- |
| Tuesday | 07:45–12:00 / 13:45–18:00 |
| Wednesday | 08:30–12:00 / 13:30–18:00 |
| Thursday | 07:45–12:00 / 13:45–18:00 |
| Friday | 07:45–12:00 / 13:45–16:30 |

## SECTION 2

Reasons for the EYLEA® replacement request *: (Check the box(es) corresponding to your request.)

In all cases: return of the product concerned, which is required for investigations, is mandatory.

### I – Product quality complaint occurring before injection

[   ] (a) Low liquid level

[   ] (b) Sterile blister opened

[   ] (c) Cloudy product or product containing particles

[   ] (d) Missing item (specify): ____________________

[   ] (e) Damaged syringe/vial, so product sterility cannot be guaranteed (specify): ____________________

[   ] (f) Clogged needle

[   ] (g) Syringe plunger sticks

[   ] (h) Syringe cap cannot be opened

[   ] (i) Defect in the syringe Luer Lock tip (specify): ____________________

Type of needle used and lot no. (if available): ____________________

[   ] (j) Dosing line on the syringe barely visible or not visible

[   ] (k) Label printing problem or defect

[   ] (l) Leaks, location (specify): ____________________

(m) With occupational exposure to the product

[   ] (n) Without occupational exposure to the product

[ X ] (o) Condensation/water found in the syringe blister upon opening

[   ] (p) The prefilled syringe or vial has been broken: Where? Was this a handling error? ____________________

[   ] (q) With occupational exposure to the product

[   ] (r) With a cut or injury following handling of the syringe/vial/packaging

[   ] (s) Without any of the above consequences

| Field | Value |
| --- | --- |
| Complaint description | Condensation / water in the packaging before opening. |

### II – Use problem occurring before injection

[ X ] (a) Doubts about product storage (cold-chain interruption > 24 hours, or any exposure below +2°C or above +25°C)

[   ] (b) Contamination of EYLEA® before injection (contact with a nonsterile surface)

Any situation occurring during or after injection cannot be the subject of a replacement request.

2

| PSP Eylea® Form (Aflibercept, 40 mg/mL) (Aflibercept 114.3 mg/mL) CRS-FR-2024-000001 PP-EYL-FR-0653-1 |  |
| --- | --- |

## SECTION 3

By signing below, I certify the accuracy of the information provided; I acknowledge and accept that I have submitted a request for an EYLEA® replacement (aflibercept-based solution for injection (intravitreal injection)) solely on the basis described above, and that EYLEA® treatment remains appropriate for the patient. I agree to receive an EYLEA® prefilled syringe as a replacement for the vial or prefilled syringe that was not administered.

| Field | Value |
| --- | --- |
| Mandatory signature of the healthcare professional * | [ILLEGIBLE] |
| Date *: (DD/MM/YYYY) | 21/04/2026 |

“The information collected is processed electronically and is intended for UNIVERSAL MEDICA, the company to which we have entrusted management of [EYLEA®] replacement requests. Your data will be retained for the duration of the replacement operation and then (archived for 10 years and deleted). In accordance with the French ‘Data Processing and Freedoms’ law of January 6, 1978, as amended, and the General Data Protection Regulation of April 27, 2016, you have the right to access, rectify, restrict, and object to the processing of your data on legitimate grounds by sending your request to BAYER HEALTHCARE SAS, Data Protection Officer, Legal Department, 10 Place de Belgique, BP 103, 92254 La Garenne Colombes cedex. If, after contacting Bayer, you believe your rights have not been respected, you may submit a complaint to the CNIL.”

## INTERNAL USE

| Field | Value |
| --- | --- |
| Date received | 21/04/2026 |
| Service provider registration no. | CRS-20260421-97-1 |
| Category | [ X ] I [ ] II |
| Code | o |
| Approved (date) | [ X ] 21/04/2026 |
| Refused (date) | [ ] ____________________ |
| Sent to PV (date) | [ ] ____________________ |
| Sent to AQ (date) | [ X ] 21/04/2026 |
| Letter requesting return of the device sent (date) | [ X ] 21/04/2026 |
| Follow-ups initiated | [ X ] 21/04/2026 |

## HEALTHCARE PROFESSIONAL FOLLOW-UP if the form is incomplete or the sample has not been returned

| Field | Value |
| --- | --- |
| Follow-up date 1 | 21/04/2026 |
| Reason for follow-up 1 | follow-up regarding product availability, selected reasons and |
| Follow-up date 2 |  |
| Reason for follow-up 2 | pharmaceutical form |
| Addition and/or modification requested by the healthcare professional | The office staff indicate that the SPR is available and that there has been no interruption of the cold chain. |
| Date | 21/04/2026 |

3

The confidence value is a reasoned quality estimate, not a proof of correctness. For an explanation of how it is calculated, what the quality levels mean, and which passages require manual verification, see the accompanying quality report: 001_AI Translation Quality Report.docx.